ProSim 8 Firmware Update Instructions

Firmware version 2.09

This firmware improvement features:

- No user facing changes

Detailed firmware upgrade instructions are available in the ProSim 8 Ansur plug-in user manual. The

following is a brief instruction:

1. Download both the latest Ansur Executive and Ansur ProSim 8 Plug-in (including ProSim 8 Mini Plug-in) from http://www.flukebiomedical.com website.

2. Open the Mini Plug-In.

3. Click the Update Firmware tab.

4. Click next to the field of the firmware you want to upload. Upload the main unit processor and user interface firmware files.  If you have an SpO2 accessory, connect it to the ProSim 8 and also upload the SPOT firmware file.

5. Click the Next button, follow the instructions on the screen

6. Click the Upload button to send the file(s) to ProSim 8.

Please contact your regional sales managers or Fluke Biomedical Technical Support at

techservices@flukebiomedical.com if you have any questions or concerns about this update.