VT650/VT900/VT900A Update Instructions

Instructions for updating your VT650/VT900/VT900A:

- Extract the files from this zip archive.

- Run Vt900FirmwareUpdate.exe

Note: The same program is used for all models (VT650/VT900/VT900A)

- Verify the two firmware files were populated (Firmware and UI)

  - Browse to select different files, if needed.

- Connect the VT650/VT900/VT900A to the PC with a USB cable

- Ensure the VT650/VT900/VT900A is off

- Press “Go”

- Wait for the firmware loading to complete. The process takes several minutes. Watch the progress bar at the bottom of the window:

- Acknowledge the prompt when firmware loading is complete.

- Close the program or connect another VT650/VT900/VT900A to program and start again at step 4.